## Baseline Results
INPUTS | [12 empty] | PYTHON — PANEL SPEC | [11 empty] | PYTHON — OPTIMAL (MILP) | [13 empty] | PYTHON — RECOMMENDED (MILP+BAT)
File # | Location | Latitude | Longitude | Budget (USD) | Roof Area (m²) | Roof Length (m) | Roof Width (m) | Rate Plan | Panel Brand | Num EVs | Num People | Num Daytime Occupants | Selected Panel | Panel Power (Wp) | Panel Efficiency (%) | Panel Area (m²) | Cell Vmp (V) | Cell Imp (A) | Max Panels by Roof | Max Panels by Budget | Prod/Panel/yr (kWh) | Annual Consumption kWh (None=auto) | Irradiance (kWh/m²/yr) | Annual Load kWh (EIA) | OPT_MATH: Panels | OPT_MATH: System kW DC | OPT_MATH: Annual Prod (kWh) | OPT_MATH: Gross CAPEX ($) | OPT_MATH: Net CAPEX ITC ($) | OPT_MATH: Annual Savings ($) | OPT_MATH: Payback (yr) | OPT_MATH: NPV ($) | OPT_MATH: String Voltage (V) | OPT_MATH: Parallel Strings | OPT_MATH: Panels-in-Series | OPT_MATH: Array Area (m²) | OPT_MATH: Budget Binding? | OPT_MATH: Solver Status | REC_MATH: Panels | REC_MATH: System kW DC | REC_MATH: Annual Prod (kWh) | REC_MATH: Gross CAPEX ($) | REC_MATH: Net CAPEX ITC ($) | REC_MATH: Annual Savings ($) | REC_MATH: Payback (yr) | REC_MATH: NPV ($) | REC_MATH: String Voltage (V) | REC_MATH: Parallel Strings | REC_MATH: Panels-in-Series | REC_MATH: Array Area (m²) | REC_MATH: Budget Binding? | REC_MATH: Solver Status | REC_MATH: Battery kWh | REC_MATH: Battery Model
1 | low_budget_high_roof | 32.8328 | -117.2713 | 8000 | 216 | 18 | 12 | TOU_DR |  | 0 | 2 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 65 | 63 | 1098.9 |  | 1907.8 | 20866.4 | 65 | 46.8 | 71428 | 8236.8 | 5765.76 | 10017.48 | 1 | 69588.44 | 530.4 | 5 | 13 | 202.15 | No | time_limit_feasible | 63 | 45.36 | 69230.2 | 7983.36 | 5588.35 | 9802.49 | 1 | 68288.55 | 367.2 | 7 | 9 | 195.93 | Yes | optimal | 0 | None
2 | high_budget_low_roof | 32.8328 | -117.2713 | 80000 | 12 | 4 | 3 | TOU_DR |  | 0 | 2 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 3 | 3 | 1098.9 |  | 1907.8 | 20866.4 | 3 | 2.16 | 3296.7 | 13030.16 | 9121.11 | 1628.21 | 5 | 4442.29 | 122.4 | 1 | 3 | 9.33 | No | optimal | 3 | 2.16 | 3296.7 | 13030.16 | 9121.11 | 1628.21 | 5 | 4442.29 | 122.4 | 1 | 3 | 9.33 | No | optimal | 18 | Generac PWRcell M6 ×1
3 | many_occupants_low_budget | 32.8328 | -117.2713 | 12000 | 50 | 8 | 6.25 | TOU_DR |  | 0 | 6 | 4 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 12 | 12 | 1098.9 |  | 1907.8 | 31140.7 | 12 | 8.64 | 13186.7 | 14170.64 | 9919.45 | 6651.09 | 2 | 47928.35 | 489.6 | 1 | 12 | 37.32 | No | time_limit_feasible | 12 | 8.64 | 13186.7 | 10870.64 | 7609.45 | 5866.02 | 2 | 42949.97 | 489.6 | 1 | 12 | 37.32 | No | optimal | 5 | Enphase IQ Battery 5P ×1
4 | few_occupants_many_evs_high_budget | 32.8328 | -117.2713 | 60000 | 80 | 10 | 8 | TOU_DR |  | 3 | 1 | 0 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 24 | 24 | 1098.9 |  | 1907.8 | 65638.2 | 24 | 17.28 | 26373.4 | 53641.28 | 37548.9 | 14244.16 | 3 | 87504.83 | 326.4 | 3 | 8 | 74.64 | No | optimal | 24 | 17.28 | 26373.4 | 53641.28 | 37548.9 | 14244.16 | 3 | 87504.83 | 326.4 | 3 | 8 | 74.64 | No | optimal | 72 | Generac PWRcell M6 ×4
5 | massive_roof_high_ev | 32.8328 | -117.2713 | 70000 | 450 | 25 | 18 | TOU_DR |  | 4 | 4 | 2 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 130 | 130 | 1098.9 |  | 1907.8 | 109864.1 | 130 | 93.6 | 142856.1 | 67073.6 | 46951.52 | 31034.07 | 2 | 206152.51 | 408 | 13 | 10 | 404.3 | No | optimal | 130 | 93.6 | 142856.1 | 67073.6 | 46951.52 | 31034.07 | 2 | 206152.51 | 408 | 13 | 10 | 404.3 | No | optimal | 72 | Generac PWRcell M6 ×4
6 | tiny_roof_minimal_load | 32.8328 | -117.2713 | 15000 | 7.5 | 3 | 2.5 | TOU_DR |  | 0 | 1 | 0 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 2 | 2 | 1098.9 |  | 1907.8 | 18342.7 | 2 | 1.44 | 2197.8 | 253.44 | 177.41 | 1080.75 | 1 | 8565.35 | 81.6 | 1 | 2 | 6.22 | No | time_limit_feasible | 2 | 1.44 | 2197.8 | 12903.44 | 9032.41 | 1084.9 | 7 | -253.14 | 81.6 | 1 | 2 | 6.22 | No | optimal | 18 | Generac PWRcell M6 ×1
7 | high_consumption_tight_budget | 32.8328 | -117.2713 | 15000 | 80 | 10 | 8 | TOU_DR |  | 4 | 8 | 5 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 24 | 24 | 1098.9 |  | 1907.8 | 115552.6 | 24 | 17.28 | 26373.4 | 40991.28 | 28693.9 | 15905.7 | 2 | 111220.77 | 326.4 | 3 | 8 | 74.64 | No | optimal | 18 | 12.96 | 19780.1 | 14930.96 | 10451.67 | 11906.05 | 1 | 93767.02 | 367.2 | 2 | 9 | 55.98 | Yes | optimal | 18 | Generac PWRcell M6 ×1
8 | premium_brand_low_budget | 32.8328 | -117.2713 | 18000 | 50 | 8 | 6.25 | TOU_DR | Maxeon Solar | 0 | 2 | 1 | Maxeon Solar Maxeon 7 | 445 | 24.1 | 1.85 | 0.6375 | 6.2325 | 24 | 10 | 679.2 |  | 1907.8 | 20866.4 | 24 | 10.68 | 16300.2 | 41118 | 28782.6 | 4334 | 6 | 7055.81 | 428.4 | 4 | 6 | 44.4 | No | time_limit_feasible | 10 | 4.45 | 6791.8 | 17132.5 | 11992.75 | 2805.25 | 4 | 11830.67 | 357 | 2 | 5 | 18.5 | No | optimal | 0 | None
9 | massive_roof_minimal_budget | 32.8328 | -117.2713 | 8000 | 300 | 20 | 15 | TOU_DR |  | 0 | 3 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 90 | 63 | 1098.9 |  | 1907.8 | 23184.9 | 90 | 64.8 | 98900.4 | 11404.8 | 7983.36 | 13037.99 | 1 | 88928 | 408 | 9 | 10 | 279.9 | No | time_limit_feasible | 63 | 45.36 | 69230.2 | 7983.36 | 5588.35 | 10137.78 | 1 | 71399.39 | 367.2 | 7 | 9 | 195.93 | Yes | optimal | 0 | None
10 | high_ev_minimal_roof | 32.8328 | -117.2713 | 50000 | 20 | 5 | 4 | TOU_DR |  | 5 | 2 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 6 | 6 | 1098.9 |  | 1907.8 | 152255 | 6 | 4.32 | 6593.4 | 760.32 | 532.22 | 6322.73 | 1 | 54706.09 | 244.8 | 1 | 6 | 18.66 | No | time_limit_feasible | 6 | 4.32 | 6593.4 | 760.32 | 532.22 | 6322.73 | 1 | 54706.09 | 244.8 | 1 | 6 | 18.66 | No | time_limit_feasible | 0 | None
11 | low_budget_high_roof | 33.1959 | -117.3795 | 9000 | 176 | 16 | 11 | TOU_DR |  | 0 | 2 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 48 | 48 | 1111 |  | 1928.8 | 21182.9 | 48 | 34.56 | 53327.5 | 6082.56 | 4257.79 | 8808.4 | 1 | 64147.34 | 326.4 | 6 | 8 | 149.28 | No | time_limit_feasible | 48 | 34.56 | 53327.5 | 6082.56 | 4257.79 | 8808.4 | 1 | 64147.34 | 326.4 | 6 | 8 | 149.28 | No | optimal | 0 | None
12 | high_budget_low_roof | 33.1959 | -117.3795 | 75000 | 15.75 | 4.5 | 3.5 | TOU_DR |  | 0 | 2 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 3 | 3 | 1111 |  | 1928.8 | 21182.9 | 3 | 2.16 | 3333 | 380.16 | 266.11 | 1635.18 | 1 | 13357.41 | 122.4 | 1 | 3 | 9.33 | No | time_limit_feasible | 3 | 2.16 | 3333 | 380.16 | 266.11 | 1635.18 | 1 | 13357.41 | 122.4 | 1 | 3 | 9.33 | No | time_limit_feasible | 0 | None
13 | many_occupants_low_budget | 33.1959 | -117.3795 | 13000 | 50 | 8 | 6.25 | TOU_DR |  | 0 | 5 | 3 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 12 | 12 | 1111 |  | 1928.8 | 29040.5 | 12 | 8.64 | 13331.9 | 14170.64 | 9919.45 | 6672.26 | 2 | 48099.51 | 489.6 | 1 | 12 | 37.32 | No | optimal | 12 | 8.64 | 13331.9 | 10870.64 | 7609.45 | 6232.6 | 2 | 46325.9 | 489.6 | 1 | 12 | 37.32 | No | optimal | 5 | Enphase IQ Battery 5P ×1
14 | few_occupants_many_evs_high_budget | 33.1959 | -117.3795 | 55000 | 80 | 10 | 8 | TOU_DR |  | 2 | 2 | 0 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 24 | 24 | 1111 |  | 1928.8 | 41895.2 | 24 | 17.28 | 26663.7 | 53641.28 | 37548.9 | 13442.6 | 3 | 80292.61 | 326.4 | 3 | 8 | 74.64 | No | time_limit_feasible | 24 | 17.28 | 26663.7 | 3041.28 | 2128.9 | 6491.55 | 1 | 50920.01 | 326.4 | 3 | 8 | 74.64 | No | time_limit_feasible | 0 | None
15 | massive_roof_high_ev | 33.1959 | -117.3795 | 65000 | 352 | 22 | 16 | TOU_DR |  | 3 | 4 | 2 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 108 | 108 | 1111 |  | 1928.8 | 73544.7 | 108 | 77.76 | 119986.8 | 64285.76 | 45000.03 | 27990.04 | 2 | 185757.62 | 367.2 | 12 | 9 | 335.88 | No | optimal | 108 | 77.76 | 119986.8 | 64285.76 | 45000.03 | 27990.04 | 2 | 185757.62 | 367.2 | 12 | 9 | 335.88 | Yes | optimal | 72 | Generac PWRcell M6 ×4
16 | tiny_roof_minimal_load | 33.1959 | -117.3795 | 14000 | 7.7 | 3.5 | 2.2 | TOU_DR |  | 0 | 1 | 0 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 1 | 1 | 1111 |  | 1928.8 | 18563.6 | 1 | 0.72 | 1111 | 126.72 | 88.7 | 535.3 | 1 | 3849.93 | 40.8 | 1 | 1 | 3.11 | No | time_limit_feasible | 1 | 0.72 | 1111 | 12776.72 | 8943.7 | 539.35 |  | -4969.48 | 40.8 | 1 | 1 | 3.11 | No | optimal | 18 | Generac PWRcell M6 ×1
17 | high_consumption_tight_budget | 33.1959 | -117.3795 | 16000 | 80 | 10 | 8 | TOU_DR |  | 3 | 7 | 4 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 24 | 24 | 1111 |  | 1928.8 | 79181.5 | 24 | 17.28 | 26663.7 | 36921.28 | 25844.9 | 13493.52 | 2 | 91970.85 | 326.4 | 3 | 8 | 74.64 | No | time_limit_feasible | 24 | 17.28 | 26663.7 | 15691.28 | 10983.9 | 12208.73 | 1 | 94880.62 | 326.4 | 3 | 8 | 74.64 | Yes | optimal | 18 | Generac PWRcell M6 ×1
18 | premium_brand_low_budget | 33.1959 | -117.3795 | 20000 | 50 | 8 | 6.25 | TOU_DR | Aiko Solar | 0 | 2 | 1 | Aiko Solar Neostar 2P | 485 | 24.3 | 1.99 | 0.6467 | 6.9444 | 21 | 21 | 748.4 |  | 1928.8 | 21182.9 | 1 | 0.485 | 748.4 | 293.43 | 205.4 | 351.81 | 1 | 2124.05 | 34.92 | 1 | 1 | 1.99 | No | time_limit_feasible | 21 | 10.185 | 15715.9 | 18811.93 | 13168.35 | 7458.66 | 2 | 51786.31 | 244.44 | 3 | 7 | 41.79 | No | optimal | 18 | Generac PWRcell M6 ×1
19 | massive_roof_minimal_budget | 33.1959 | -117.3795 | 9000 | 252 | 18 | 14 | TOU_DR |  | 0 | 3 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 70 | 70 | 1111 |  | 1928.8 | 23536.5 | 70 | 50.4 | 77769.2 | 8870.4 | 6209.28 | 11604.46 | 1 | 82384.47 | 408 | 7 | 10 | 217.7 | No | time_limit_feasible | 70 | 50.4 | 77769.2 | 8870.4 | 6209.28 | 11604.46 | 1 | 82384.47 | 408 | 7 | 10 | 217.7 | Yes | optimal | 0 | None
20 | high_ev_minimal_roof | 33.1959 | -117.3795 | 45000 | 24.75 | 5.5 | 4.5 | TOU_DR |  | 4 | 2 | 1 | Canadian Solar TOPHiKu7 | 720 | 23.2 | 3.11 | 0.6182 | 8.8235 | 6 | 6 | 1111 |  | 1928.8 | 105237.6 | 6 | 4.32 | 6665.9 | 760.32 | 532.22 | 5900.89 | 1 | 51029.46 | 244.8 | 1 | 6 | 18.66 | No | time_limit_feasible | 6 | 4.32 | 6665.9 | 760.32 | 532.22 | 5900.89 | 1 | 51029.46 | 244.8 | 1 | 6 | 18.66 | No | time_limit_feasible | 0 | None